PART 1     GENERAL

- SUMMARY

  - Section Includes:

    - Dimensional letters.

  - Related Sections:

    - Division 1:  Administrative, procedural and temporary work requirements.

- REFERENCES

  - Signs and their installation shall comply with applicable provisions of the latest edition of the following standards and with requirements of authorities having jurisdiction:

    - ADAAG – Americans with Disabilities Act Accessibility Guidelines; US Architectural and Transportation Barriers Compliance Board.

    - International Code Council/American National Standards Institute A117.1-Standard on Accessible and Usable Buildings Facilities.

    - National Fire Protection Association 101 Life Safety Code.

- SUBMITTALS

  - Submittals for Review:

    - Signage schedule in manufacturer's format for verification of text/copy.

    - Approval drawings showing materials, construction detail, lay-out, copy, size and mounting methods.

    - Engineering drawings for each sign type.

    - Full size sample of each type of dimensional letter for verification of materials, color, pattern, overall quality, and for adherence to drawings and requirements indicated.

- QUALIFICATIONS

  - Manufacturer specializing in manufacturing the products specified in this section with minimum five years experience.  Obtain signs from one source and a single manufacturer.

- WARRANTY

  - Provide manufacturer’s warranty against defects in materials and workmanship for minimum 5 years.

PART 2     PRODUCTS

2.1   MANUFACTURER

- Letters shall be Ethos as manufactured by Takeform, 1.800.528.1398, www.takeform.net or Architect approved equal.

B.	Substitutions:  Bidder must obtain prior written approval from the Architect and/or Owner to bid alternates or substitutions to the specification.

  - LETTER STANDARDS

  - General:  Comply with requirements indicated for type, style, colors, finish, letter height, thickness and mounting methods.

  - LETTER TYPE – PAINTED ACRYLIC

- Typeface:   see drawings.

- Color and Finish:  see drawings.

- Letter Height:  see drawings.

- Letter Thickness:  see drawings.

- Mounting Method:  all fasteners shall be concealed.  See drawings for mounting position and method.

PART 3     EXECUTION

3.1   SITE VISITS

  - Site visits – 3 site visits shall be required by the sign contractor:

    - Prior to submission of bid for site assessment and evaluation.

    - Post award for the purposes of meeting with Owners and project manager.

    - Final walk-through and punchlist.

  - Programming – contractor shall perform all programming.  Programming shall include location plan, message schedule, and/or plots.  All programming materials shall be submitted for approval.

3.2  DELIVERY, STORAGE, PROTECTION

  - Package to prevent damage or deterioration during shipment, handling, storage and installation.  Products should remain in original packaging until removal is necessary.  Store products in a dry, indoor location.

3.3   EXAMINATION

  - Installer shall examine signs for defects, damage and compliance with specifications.  Installation shall not proceed until unsatisfactory conditions are corrected.

3.4   INSTALLATION

  - General:  Installation locations shall be in accordance with drawings.  Locate signs where indicated using mounting methods in compliance with manufacturer's written instructions:

    - The manufacturer shall coordinate installation schedules with the Owner and/or Construction Manager.

    - Installation shall be performed by manufacturer’s personnel trained and certified in manufacturer’s methods and procedures.

    - The manufacturer shall submit a CAD generated location plan noting the location of all signage and cross referenced to message schedule or plots for architect’s approval.

    - Manufacturer to provide full scale plots prior to manufacturing to verify size, copy and letter location.  Any location, message or mounting issue shall be submitted to architect for review.

    - Letters shall be level, plumb, and at heights indicated with sign surfaces free from defects.

    - Upon completion of the work, installer shall remove unused or discarded materials, containers and debris from site.

END OF SECTION