PART 1     GENERAL

- SUMMARY

  - Section Includes:

    - Behavioral health signage; wayfinding, room identification and signage for ADA and life safety code compliance.

  - Related Sections:

    - Division 1:  Administrative, procedural and temporary work requirements.

- REFERENCES

  - Signs and their installation shall comply with applicable provisions of the latest edition of the following standards and with requirements of authorities having jurisdiction:

    - ADAAG – Americans with Disabilities Act Accessibility Guidelines; US Architectural and Transportation Barriers Compliance Board.

    - International Code Council/American National Standards Institute A117.1-Standard on Accessible and Usable Buildings Facilities.

    - National Fire Protection Association 101 Life Safety Code.

- SUBMITTALS

  - Submittals for Review:

    - Sign finishes, location plan and copy shall be submitted within an interactive web-based database allowing digital review and approval within the context of the floor plans.

    - Approval drawings showing materials, construction detail, lay-out, copy, size and mounting methods.

    - Engineering drawings for each sign type.

    - Sample of two sign types for verification of materials, color, imagery, overall quality, and for adherence to drawings and requirements indicated.

- QUALIFICATIONS

  - Manufacturer specializing in manufacturing the products specified in this section with minimum five years experience.  Obtain signs from one source and a single manufacturer.

- WARRANTY

  - Provide manufacturer’s warranty against defects in materials and workmanship for minimum 5 years.

PART 2     PRODUCTS

2.1   MANUFACTURER

- Signage shall be Empath as manufactured by Takeform, 1.800.528.1398, www.takeform.net or Architect approved equal.

B.	Substitutions:  Bidder must obtain prior written approval from the Architect and/or Owner to bid alternates or substitutions to the specification.

2.2   SIGN STANDARDS

  - It is the intent of these specifications to establish a sign standard for the Owner including but not limited to primary and secondary directories, wall mounted directionals, primary room identification, and all code compliant signage.  The standard shall address the specific needs of behavioral health while maintaining a consistent aesthetic for signage throughout the facility.

  - Engineered and Tested:

The signage system shall have undergone rigorous testing to ensure indestructibility, longevity and optimal performance.  Testing shall include environmental testing to ensure that materials can withstand changes in temperature and humidity without distortion as well as testing to ensure resistance to chemicals and UV effects.  Further, mechanical testing shall ensure that the signs are shatterproof and cannot be removed and/or utilized in a dangerous or destructive manner.  Test data shall be included with submittals.

  - Typography:

    - Type style:  see drawings.  Copy shall be a true, clean, accurate reproduction of typeface(s) specified. Upper and lower case or all caps shall be as indicated in Sign Type drawings and Signage Schedule.  Letter spacing to be normal and interline spacing shall be set by manufacturer.

    - Arrows, symbols and logo art:  To be provided in style, sizes, colors and spacing as shown in drawings.

    - Copy shall be integral to sign utilizing Grade II Braille.

  - Evacuation Maps:

    - Evacuation maps shall have a unique “you are here” orientation.

  - Color and Finishes:

    - Colors, patterns and artwork:  see drawings.

    - Message Background:  see drawings.

    - Finishes are to meet current federal ADA and all state and local requirements.

2.3   SIGNS

  - Signage System:

    - The signage shall be a one-piece direct print polycarbonate sign system in conformance to ADA specifications.

    - Signage shall be capable of accepting direct prints including colors, patterns and graphic images.  Prints shall be second surface to protect from scratches, fading or other damage.

    - All signs shall have a matching appearance and constructed utilizing the same manufacturing process to ensure a consistent look throughout.

  - Materials:

    - Signage shall be a one-piece construction fabricated of shatterproof polycarbonate designed for safety in a high-risk behavioral health setting.

    - The signage shall have a thin, ligature-resistant .22” profile.  Edges shall be eased for a soft touch feel.

    - The raised letters and Braille shall be integral to the sign, fabricated from a single piece of polycarbonate, pick-proof and vandal resistant.

    - All graphics shall be second surface to prelude scratching, fading and surface damage.

    - The polycarbonate shall be 40% post industrial waste.  All inks shall be Greenguard certified.

    - Installation options shall include recessed, tamper-free fasteners, or silicone adhesive and mounting tape; both may be supplemented with pick-free caulk around the sign perimeter.

  - Colors, Patterns, Imagery and Artwork:

    - Vendor shall provide an online library of images including patterns, graphics and photography.  The library shall be organized by idea or theme to facilitate the selection of images appropriate for the project.

    - All images shall have a minimum resolution of 300 dpi.

    - Face and background colors shall be per the drawings.

    - Standard tactile colors shall match manufacturer's ADA standard color selection.  Font and font colors shall be per the drawings.

  - Printed Inserts

    - The signage shall be capable of accepting paper inserts to allow changing and updating as required.  The insert components shall be flush to sign face for a smooth, seamless appearance.

    - The signage contractor shall provide and install all signage inserts.

    - Manufacturer shall provide a template containing layout, font, color, artwork and trim lines to allow Owner to produce inserts on laser or ink jet printer.  The template shall be in an Acrobat or Word format (.pdf).

  - Quantities:

Code and Facility Signage:

Sign Type A	Directory				_________________

Sign Type B	Directional				_________________

Sign Type D  	Evacuation Map			_________________

Sign Type E  	Stairs					_________________

Sign Type E.2  	Restroom				_________________

Sign Type E.3  	Misc. Room ID			_________________

Sign Type F  	Small Room ID 			_________________

Sign Type G  	Medium Room ID 			_________________

Sign Type G.2  	Large Room ID 			_________________

Sign Type H 	Room ID Changeable Insert		_________________

Sign Type I  	Room ID Changeable Insert		_________________

Sign Type N  	Interior Stairwell			_________________

Sign Type N.2	Informational or

Caution/Prohibitory			_________________

PART 3     EXECUTION

3.1   SITE VISITS

  - Site visits – 3 site visits shall be required by the sign contractor:

    - Prior to submission of bid for site assessment and evaluation.

    - Post award for the purposes of meeting with Owners and project manager.

    - Final walk-through and punchlist.

  - Programming – sign contractor shall perform all wayfinding & programming.  Programming shall include location plan, message schedule, and/or plots, fire/evacuation maps and insert graphics.  All programming materials shall be submitted for approval.

3.2   CODE COMPLIANCE

  - It shall be the responsibility of the successful bidder to meet any and all local, state, and federal code requirements in fabricating and installing signs.

3.3   DELIVERY, STORAGE, PROTECTION

  - Package to prevent damage or deterioration during shipment, handling, storage and installation.  Products should remain in original packaging until removal is necessary.  Store products in a dry, indoor location.

3.4   EXAMINATION

  - Installer shall examine signs for defects, damage and compliance with specifications.  Installation shall not proceed until unsatisfactory conditions are corrected.

3.5   INSTALLATION

  - General:  Installation locations shall be in accordance with ADA specifications.  Locate signs where indicated using mounting methods in compliance with manufacturer's written instructions:

    - The signage contractor shall coordinate installation schedules with the Owner and/or Construction Manager.

    - Installation shall be performed by manufacturer’s personnel trained and certified in manufacturer’s methods and procedures.

    - The signage contractor shall submit a CAD generated location plan noting the location of all signage and cross referenced to message schedule or plots for architect’s approval.

    - Installer to conduct a pre-installation survey prior to manufacturing to verify copy and sign location. Each location shall be noted using a low tack vinyl reproduction of actual sign.  Full scale renderings of directories and directionals shall also be provided.  Any location discrepancy or message issues shall be submitted to architect for review.

    - Signs shall be level, plumb, and at heights indicated with sign surfaces free from defects.

    - Upon completion of the work, signage contractor shall remove unused or discarded materials, containers and debris from site.

3.6   DIGITAL SIGN MANAGER

  - Manufacturer shall provide a cloud-based, password protected sign management platform enabling the Owner to view and manage their sign assets.  Every sign, sign type, mounting surface, copy, graphic treatment and building location shall be viewable and accessible through the platform.  The online sign management tool shall facilitate sign changes and additions seamlessly updating the system to reflect current conditions.

END OF SECTION